This page was exported from Welkom bij LED Centrale [    https://www.elektrocentrale.nl    ]

Export date: Thu Apr 18 20:19:33 2024 / +0000 GMT

# LED Paneel ECO 120x30CM 40W Met witte rand ( 2 stuks )

Price: €59.50

SKU: PG12030

Product Categories: LED paneel ECO 100lm/ watt

Product Page: https://www.elektrocentrale.nl/product/paneel-eco-120x30cm-40w-met-witte-rand/

## Product Variants

- LED Paneel ECO 120x30CM 40W Met witte rand ( 2 stuks ) ()Kleur: 4000K, Type Driver: Standaard

- LED Paneel ECO 120x30CM 40W Met witte rand ( 2 stuks ) ()Kleur: 3000K, Type Driver: Standaard

## Product Description

| Dimension (mm) | 1195x295x10 |
| --- | --- |
| Voltage | 220-240V(AC) |
| Beam Angle | 120° |
| CRI | >80Ra |
| Energie Label | A+ |
| Gewicht | Niet beschikbaar |

### Algemeen

| Afmeting (mm) | 1195×295 |
| --- | --- |
| Garantie | 2 jaar |
| Branduren | 35.000 uur |
| Per doos | 6 stuks en 8 stuks |
| Keurmerken | CE, RoHS, TÜV |

### Technische Specificaties

| Wattage | 40 Watt |
| --- | --- |
| Lumen Watt Verhouding (Lm/W) | 100lm/W |
| Kelvin | 3000K ¦ Warm white, 4000K ¦ White, 5000K ¦ Cool White, 6000K ¦ Cool white |
| UGR | <22 |
| Hertz | 50/60 Hz Flickervrij |
| Power Factor | >0.96 |
| Driver | AGT EMC |

### Armatuur Specificaties

| IP-Waarde | IP20 |
| --- | --- |
| IK-Waarde | 02 |
| Product Kleur | Mat wit |

## Product Attributes

- Dimensions: 1250 × 350 × 50 cm

- Weight: 10 kg

- Kleur: 3000K, 4000K, 5000K

- Type Driver: Standaard, Noodunit + €83,00, Dimbaar + €12.50, Wieland + € 7.50, Dali 1-10V + € 21.50, Draadloos Dimbaar + €35,00

## Product Gallery

Product added date: 2016-05-31 11:51:57

Product modified date: 2022-05-25 06:51:02

Product export as MS Document by WooCommerce PDF & Print plugin.